## Slide 1: Overview of SDTMIG-MD (Medical Devices)
Anagha Bhatkhande
Varsha Mahajan
Effective date: 01-Jan-2018
V 1.0
Copyright © 2016 Tata Consultancy Services Limited
Notes: Title Slide
Theme Image area
We need to place appropriate image based on the content of the Presentation
Version No
Release date
PALS logo
TCS logo
Theme 1-a
Align text to the bottom of the logo bottom line
Font size 10pt

## Slide 2: Confidentiality Statement
This document contains information which is commercially confidential to Tata Consultancy Services Ltd. ("TCS") and is provided for the sole purpose of permitting the recipient to evaluate the proposal submitted within the document. In consideration of the receipt of this document, the recipient agrees to maintain the information it contains in confidence and not to reproduce or otherwise disclose the contents of this document to any person outside the recipient's evaluation team or nominated advisors. The document may not be used, reproduced or disclosed to others, except as specifically permitted by TCS in writing. The recipient of this document, by its retention and use, agrees to take reasonable endeavours to protect the document and the information it contains from loss or theft.
© 2017 - TATA Consultancy Services Limited (TCS)
TCS confidential

## Slide 3: Agenda
Overview of SDTMIG-MD
02
Differences Between Drug and Device Terminology
03
04
Relationship of Device Domains
05
Metadata Description of Device Domains and Examples
06
TCS confidential
New SDTM-Based Device Domains and classification
What is a Device?
01

## Slide 4: What is a Device?
The ISO 14155 Medical Devices Good Clinical Practices standard defines a “device” as
  Any instrument, apparatus, appliance, material or other article, whether used alone or in combination, including the software necessary for its proper application, intended by the manufacturer to be used on human beings for the purpose of:
  diagnosis, prevention, monitoring, treatment or alleviation of disease,
  diagnosis, monitoring, treatment, alleviation or compensation for an injury or handicap,
  investigation, replacement or modification of the anatomy or of a physiological process,
  control of conception,
  and which does not achieve its principal intended action in or on the human body by pharmacological, immunological or metabolic means, but which may be assisted in its function by such means.
TCS confidential
Notes: Here, “electronic” means submissions that provide study and other data in machine-readable electronic database format.

## Slide 5: Overview of SDTMIG-MD
Medical Device Implementation Guide (IG)
  Defines recommended standards for the submission of data from clinical trials in which medical devices were used
  Based on the original SDTMIG for human clinical trials
  Covers both paper and electronic regulatory submissions
  The CDISC SDS (Submission Data Standards) team has designed a set of supplemental device-related domains for the SDTM to handle device data
  Covers data collected on CRFs by investigative sites as well as data derived by sponsors for submission
  Covers non-subject data definitions such as Device Events and Device Tracking information
  Does not cover information on other data needed for the submission, such as manufacturing quality information, may be included in other sections of the submission, but are not considered clinical data
  May also be used for studies where devices are used to obtain study measurements or results, but the devices themselves are not the object of the study.
TCS confidential
Notes: Here, “electronic” means submissions that provide study and other data in machine-readable electronic database format.
For example, a study that uses an MRI to capture images of the brain to measure brain volume for an Alzheimer's trial may
choose to use the Device In-Use domain to capture the field strength and slice thickness setting for each image, even though the MRI machine is not being studied and is already approved for use.

## Slide 6: Differences Between Dug and Device Terminology
TCS confidential
Term | Device Definition | Drug Definition
Accountability | Device Accountability: Tracking where the device is physically Shipping information may be on the CRF Usually between sponsor and site. | Drug Accountability: Tracking where the drug is Accounting for all of the drug (e.g., pill counts) in the clinical trial Usually between the site and the subject Shipping info not usually captured on CRFs.
Disposition | Device Disposition: The final location/status of the device at the time of submission or the end of the trial. | Subject Disposition: The status of the subject’s participation in the trial at a given time point (e.g., did they complete the study or withdraw early).

## Slide 7: Differences Between Dug and Device Terminology
TCS confidential
Term | Device Definition | Drug Definition
Exposure | Device Exposure: The interaction or interface between the subject and the device or device constituents. | Study Drug Exposure: The amount of study drug to which the subject is exposed.
Note that exposure information about a drug delivered via a device would generally be placed in Study Drug Exposure (EX). Sponsors should confer with the regulatory reviewers to determine the correct domain to use.

## Slide 8: New SDTM-Based Device Domains and classification
Study Device Identifiers (DI):
  This is a special-purpose domain designed for the submission of information that identifies a specific device unit.
  The primary purpose of this domain is to provide a consistent sponsor-defined variable (SPDEVID) for linking data across Device domains, independent of the level of granularity by which a device might be identified by a sponsor in a study.
  The information included in Study DI depends upon what is needed to identify the device uniquely within a submission and to meet analysis and regulatory requirements.
  The domain is not intended to contain information about characteristics that can change without affecting the identification of the device, such as supplier details or dial settings (e.g., imaging devices).
  Device Identifiers exist independently from subjects and therefore the Study DI domain does not contain USUBJID
TCS confidential

## Slide 9: New SDTM-Based Device Domains and classification
Study Device Identifiers (DI):
  This is a special-purpose domain designed for the submission of information that identifies a specific device unit.
  The primary purpose of this domain is to provide a consistent sponsor-defined variable (SPDEVID) for linking data across Device domains, independent of the level of granularity by which a device might be identified by a sponsor in a study.
  The information included in Study DI depends upon what is needed to identify the device uniquely within a submission and to meet analysis and regulatory requirements.
  The domain is not intended to contain information about characteristics that can change without affecting the identification of the device, such as supplier details or dial settings (e.g., imaging devices).
  Device Identifiers exist independently from subjects and therefore the Study DI domain does not contain USUBJID
TCS confidential

## Slide 10: New SDTM-Based Device Domains and classification
Device In-Use (DU):
  Device In-Use is a Findings domain that contains the values of measurements and settings that are intentionally set on a device when it is used
  May vary from subject to subject or other target.
  These are characteristics that exist for the device, and have a specific setting for a use instance.
  DU is distinct from Device Properties, which describes static characteristics of the device.
    For example: Device Properties would capture that an MRI machine’s field strength has a range from 0.2 to 3 Tesla, whereas the Device In-Use domain would capture that the field strength for the MRI scan for Subject 123 was 0.5 T.
TCS confidential

## Slide 11: New SDTM-Based Device Domains and classification
Device Exposure (DX):
  Device Exposure is an Interventions domain that records the details of a subject’s exposure to a medical device under study.
  This device is prospectively defined as a test article within a study
  This device may be used by the subject, on the subject, or be implanted into the subject.
    Examples include but are not limited to stents, drug delivery systems, and any other item under study that is defined as a device in the applicable regulations.
TCS confidential

## Slide 12: New SDTM-Based Device Domains and classification
Device Events (DE):
  Device Events is an Events domain that contains information about various kinds of device-related events, such as device malfunctions.
  A device event may or may not be associated with a subject or a visit.
  If a device event, such as a malfunction, results in an adverse event, then the AE-related information should be recorded in the Adverse Events (AE) domain
  The relationship between the AE and a device malfunction in DE can be recorded using RELREC and appropriate identifying variables such as DESPID and AESPID.
TCS confidential

## Slide 13: New SDTM-Based Device Domains and classification
Device Tracking and Disposition (DT):
  The Device Tracking and Disposition domain is an Events domain
  It represents a record of tracking events for a given device.
    Examples could include initial shipment, deployment, return, destruction, etc.
  Different events would be relevant to different types of devices.
  The last record represents the device disposition at the time of submission.
  The sponsor decides upon the level of granularity that is appropriate for this domain based on the type of device and agreements with the regulatory agencies.
TCS confidential

## Slide 14: New SDTM-Based Device Domains and classification
Device-Subject Relationships (DR):
  The Device-Subject Relationships domain is a special-purpose domain
  It links each subject to devices to which they may have been exposed.
  Information in this table may have been initially collected and submitted in other domains (e.g., Device Exposure, Device Tracking and Disposition, Device Events).
  This domain, however, provides a single, consistent location to find the relationship between a subject and a device, regardless of the device or the domain in which subject-related data may have been collected or submitted.
TCS confidential

## Slide 15: New SDTM-Based Device Domains and classification
Device Properties (DO):
  The Device Properties is a Findings domain
  Is used to report characteristics of the device that are
    Important to include in the submission,
    do not vary over the course of the study but are not used to identify the device. Examples include expiration date or shelf life.
  Device Properties exist independently from subjects and therefore the DO domain does not contain USUBJID.
TCS confidential

## Slide 16: New SDTM-Based Device Domains and classification
The following list shows the observation class for each device domain.
Special-Purpose Domains
  Device Identifiers - DI
  Device-Subject Relationships - DR
Interventions General Observation Class
  Device Exposure - DX
Events General Observation Class
  Device Events - DE
  Device Tracking - DT
Findings General Observation Class
  Device-In-Use - DU
  Device Properties - DO
TCS confidential

## Slide 17: Relationship of Device Domains
TCS confidential

## Slide 18: References
Reference
Reference
Reference
Reference
Reference
Reference
Notes: Content Slide- 2 row / comparison

## Slide 19: Thank You
For any feedback/comment/clarification please contact us at PALS@tcs.com
V NN

## Slide 20: Document Release Notice
This XXXXXXX, Version NN, is released for use in Tata Consultancy Services (TCS) with effect from – DD-Mmm-YYYY.
This Training Material is subject to TCS Document Control Procedure. TCS reserves the right to make additions, modifications or alterations to the existing content or release a newer version of this document.
Softcopy of the latest version of the document is available in the ABCDEFG
Comments suggestions or queries should be addressed to PALS@tcs.com.
Date: DD-Mmm-YYYY
Date: DD-Mmm-YYYY
Document Name
Effective Date: DD-MMM-YYYY
V NN
Notes: Font size 9pt

## Slide 21: Change/Revision History
Version No. | Revision Description | Slide No. | Rationale for the Change | Change type (Add/Modify/Delete) | Modified By | Date Modified (DD-Mmm-YYYY)
V NN